## MW & WHCP
BILL OF MATERIALS (MAIN WELL) Reference Drawing: 090-2010-JJJ-GAD-20009
Sr. No. | Description | Manufacturer | Model No. | Qty.
RITTAL
1 | VX BAYING ENCLOSURE SYSTEM, WHD: 800X2000X800 MM, SHEET STEEL, WITH MOUNTING PLATE, SINGLE DOOR AT THE FRONT | RITTAL | 8808000 | 3
2 | VX SIDE PANEL SCREW-FIXED HD:2000X800MM (PACK OF 02) | RITTAL | 8108245 | 1
3 | BASE/PLINTH CORNER PIECES WITH BASE/PLINTH TRIM PANELS, FRONT AND REAR FOR BASE/PLINTH SYSTEM VX, SHEET STEEL (H: 100 MM, FOR W: 800 MM) (PACK OF 02) | RITTAL | 8660003 | 3
4 | VX BASE/PLINTH TRIM PANEL, SIDE, H: 100 MM, FOR D: 800 MM, SHEET STEEL (PACK OF 02) | RITTAL | 8660034 | 3
5 | COMFORT HANDLE, FOR LOCK INSERT + PADLOCK | RITTAL | 8618230 | 6
6 | TS LOCK INSERT FOR HANDLE | RITTAL | 8611180 | 6
7 | LED LIGHT WITHOUT SOCKET & MOTION SENSOR, 100 - 240VAC | RITTAL | 2500200 | 6
8 | DOOR OPERATED SWITCH WITH CONNECTION CABLE | RITTAL | 2500460 | 6
9 | VX BAYING BRACKET, INTERNAL (PACK OF 6) | RITTAL | 8617500 | 2
9 | SK BLUE E+ FILTER FAN, 110/125 M³/H, 230 V, 1~, 50 HZ/60 HZ, WHD 204 X 204 X 105 MM, RAL 7035 | RITTAL | 3239700 | 3
10 | SK BLUE E+ OUTLET FILTER, FOR FAN-AND-FILTER UNIT 3239.7XX, WH 204 X 204 MM, RAL 7035 | RITTAL | 3239300 | 9
11 | EYEBOLTS (SET OF 4) | RITTAL | 4568000 | 1
12 | VX BAYING CONNECTORS, EXTERNAL (PACK OF 6) | RITTAL | 8617502 | 2
13 | VX ANGULAR BAYING BRACKET ( PACK OF 4) | RITTAL | 8617508 | 2
14 | VX BAYING BRACKET, INTERNAL (PACK OF 6) | RITTAL | 8617500 | 2
15 | COMBINATION ANGLE (PACK OF 4) | RITTAL | 4540000 | 1
16 | WIRING PLAN POCKET, A3 SIZE | RITTAL | 2513000 | 3
17 | DK7113 EARTH RAIL 450 MM LONG | RITTAL | 7113000 | 6
18 | THERMOSTAT | RITTAL | 3110000 | 3
19 | VX MOUNTING RAIL18X38MM FOR (PACK OF 4) | RITTAL | 8617730 | 4
20 | SZ CONNECTION CABLE, FOR THROUGH-WIRING, 3-POLE, 100- | RITTAL | 2500430 | 6
21 | BAYING COVER TOP | RITTAL | 8800885 | 2
22 | EMC BAYING SEAL | RITTAL | 8617507 | 2
23 | DOOR STAY | RITTAL | 8618430 | 6
24 | SWING FRAME, LARGE | RITTAL | 8619033 | 1
25 | SWING FRAME DIVIDER KIT | RITTAL | 8619041 | 1
26 | BLANKING PANEL | RITTAL | 7152035 | 1
27 | UTILITY LECTERN | RITTAL | 4638800 | 1
28 | VX PUNCHED SECTION, WITH MOUNTING FLANGE 18 X 64 MM (PACK OF 4) | RITTAL | 8617040 | 2
29 | POWER SOCKET 220VAC | RITTAL | 2506120 | 2
30 | VX 180 DEGREE HINGE FOR SWING FRAME, LARGE | RITTAL | 8619050 | 2
31 | VX 180 DEGREE HINGE FOR CABINET DOOR (PACK OF 4) | RITTAL | 8618335 | 6
ALLEN BRADLEY
32 | 4 SLOT CONTROLLOGIX CHASSIS | ALLEN BRADLEY | 1756-A4K | 2
33 | 24 VDC POWER SUPPLY | ALLEN BRADLEY | 1756-PB75K | 2
34 | LOGIX5580 PROCESSOR WITH 05 MBYTES MEMORY | ALLEN BRADLEY | 1756-L82EXT | 2
35 | CONTROLLOGIX REDUNDANCY MODULE | ALLEN BRADLEY | 1756-RM2K | 2
36 | ETHERNET DUAL PORT 10-100M RING MODULE | ALLEN BRADLEY | 1756-EN2TRK | 4
37 | ETHERNET 10-100M INTERFACE MODULE | ALLEN BRADLEY | 1756-EN2TK | 2
38 | CONTROLLOGIX REDUNDANCY FIBER CABLE | ALLEN BRADLEY | 1756-RMC3 | 2
| CONTROLLOGIX REDUNDANCY FIBER CABLE | ALLEN BRADLEY | 1756-RMC3
39 | 10 SLOT CONTROLLOGIX CHASSIS | ALLEN BRADLEY | 1756-А10K | 2
40 | REDUNDANT POWER SUPPLY | ALLEN BRADLEY | 1756-PB75RK | 4
41 | REDUNDANT POWER SUPPLY CHASSIS ADAPTER MODULE | ALLEN BRADLEY | 1756-PSCA2K | 2
42 | REDUNDANT POWER SUPPLY CABLE | ALLEN BRADLEY | 1756-CPR2 | 4
43 | CONTROLLOGIX 16 POINT DIGITAL INPUT | ALLEN BRADLEY | 1756-IB16K | 2
44 | CONTROLLOGIX 08 POINT ANALOG INPUT | ALLEN BRADLEY | 1756-IF8K | 2
45 | CONTROLLOGIX 16 POINT DIGITAL OUTPUT | ALLEN BRADLEY | 1756-OB16EK | 1
46 | CONTROLLOGIX 16 POINT DIGITAL OUTPUT | ALLEN BRADLEY | 1756-OB16EK | 1
46 | CONTROLLOGIX 8 POINT ANALOG OUTPUT | ALLEN BRADLEY | 1756-OF8K | 2
47 | AB CABLE FOR DIGITAL IO MODULE, 20 CONDUCTOR, 18AWG, 5M | ALLEN BRADLEY | 1492-CABLE050TBNH | 3
48 | AB CABLE FOR ANALOG INPUT MODULE, 20 CONDUCTOR, 22AWG SHIELDED, 5M | ALLEN BRADLEY | 1492-ACABLE050TB | 2
49 | AB CABLE FOR ANALOG OUTPUT MODULE, 20 CONDUCTOR, 22AWG SHIELDED, 5M | ALLEN BRADLEY | 1492-ACABLE050WB | 2
50 | EMPTY SLOT FILLER CARD | ALLEN BRADLEY | 1756-N2 | 8
51 | PANELVIEW PLUS 7 PERFORMANCE , TWO 10/100BASE-T, 12" | ALLEN BRADLEY | 2711P-T12W22D9PK | 1
52 | MODBUS TCP/IP INTERFACE MODULE. | PROSOFT | MVI56E-MNET-CC | 2
53 | MODBUS TCP/IP SERIAL COMMUNICATION MODULE. | PROSOFT | MVI56E-MCM-CC | 1
MTL BARRIERS
54 | ANALOG INPUT-REPEATER POWER SUPPLY, 4-20MA, SMART, 2-CH | MTL | MTL 5544 | 27
55 | ANALOG INPUT-FIRE AND SMOKE DETECTOR INTERFACE, 2-CH | MTL | MTL 5561 | 2
56 | ANALOG INPUT-REPEATER POWER SUPPLY 4-20MA, SMART, 1-CH | MTL | MTL 5541 | 3
57 | ANALOG OUTPUT-ISOLATING DRIVER 4–20MA SMART VALVE POSITIONERS, 2-CH | MTL | MTL 5549/Y | 2
58 | DIGITAL INPUT-SWITCH/ PROXIMITY DETECTOR INTERFACE, 2-CH | MTL | MTL 5516C | 6
HIMA
59 | BASE RACK H51X, 19 INCHES, 4 UNITS HIGH | HIMA | F-BASE RACK 01 | 1
60 | PROCESSOR MODULE H51X, H41X (2X RJ-45, SIL 3) | HIMA | F-CPU 01 | 2
61 | POWER SUPPLY MODULE 24 VDC / 5 VDC, 50 W, H41X, H51X | HIMA | F-PWR 01 | 3
62 | WATCHDOG SUPPLY MODULE FOR EXTENSION RACK, H51X | HIMA | F-PWR 02 | 2
63 | COMMUNICATION MODULE FOR ETHERNET, PROFIBUS DP AND SERIAL COMMUNICATION 2X RJ-45, 1 X 9-POLE D-SUB (2X RS 485), CONFORMAL COATED | HIMA | F-COM 01 | 4
64 | LICENSE FOR MODBUS TCP SLAVE | HIMA | 894000002 | 4
65 | COVER PLATE (1 SLOT, 19-INCH SYSTEM) | HIMA | F-BLK 01 | 36
66 | EXTENSION RACK H41X, H51X, H51Q, 19 INCHES,4 UNITS HIGH, 16 SLOTS FOR I/O MODULES | HIMA | F-BASE RACK 11 | 4
67 | I/O PROCESSING MODULE (SIL 3) WITH REDUNDANT SYSTEM BUS | HIMA | F-IOP 01 | 4
68 | 8CHANNEL SAFETY-RELATED ANALOG INPUT MODULE FOR F&G, SIL 3/CAT.4, FOR CURRENT AND VOLTAGE | HIMA | F6217 | 18
69 | CABLE PLUG, WIRED WITH 5M CABLE PLUG R1 AND R2 FOR REDUNDANT INPUTS | HIMA | Z 7127/6217/C5/I/R | 9
70 | 16CHANNEL SAFETY-RELATED DIGITAL INPUT MODULE FOR F&G, SIL 3/CAT.4 | HIMA | F3236 | 6
71 | LED CABLE PLUG, WIRED WITH 5M CABLE, PLUG R1 and R2 FOR REDUNDANT INPUTS | HIMA | Z 7116/3236/C5/R | 3
72 | 8CHANNEL SAFETY-RELATED OUTPUT MODULE FOR F&G, 12 W, SIL 3/CAT.4 | HIMA | F3330 | 8
73 | LED CABLE PLUG, WIRED WITH 5M CABLE | HIMA | Z 7138/3330/C5 | 8
74 | LED CABLE PLUG, WIRED WITH 5M CABLE | HIMA | Z 7138/3330/C5 | 8
74 | 8CHANNEL SAFETY-RELATED OUTPUT MODULE FOR F&G, 12 W, SIL 3/CAT.4 WITH LINE MONITORING | HIMA | F3331 | 2
75 | LED CABLE PLUG, WIRED WITH 5M CABLE | HIMA | Z 7138/3331/C5 | 2
76 | 4CHANNEL SAFETY-RELATED OUTPUT MODULE, 25 W, SIL 3/CAT.4 WITH LINE MONITORING | HIMA | F3334 | 2
77 | LED CABLE PLUG, WIRED WITH 5M CABLE | HIMA | Z 7134/3334/C5 | 2
78 | 4FOLD POWER DISTRIBUTION FOR H51Q, H51Q FOR IO RACK B9302 INCLUSIVE MINIATURE FUSE 5X20, 4 A-T, H | HIMA | F7133 | 16
79 | RACK FAN | HIMA | K 9203A | 3
80 | INDUSTRY PATCH CABLE GREEN 1:1, RJ 45-CAT6 L=1M | HIMA | 892131120 | 3
81 | INDUSTRY PATCH CABLE RED 1:1, RJ 45-CAT6 L=1M | HIMA | 892131130 | 2
82 | MAIN POWER FILTER, 24VDC | HIMA | H7034 | 1
CISCO
83 | CISCO CATALYST IE3300 RUGGED SERIES MODULAR SYSTEM, NETWORK ESSENTIALS | CISCO | IE-3300-8T2S-E | 2
84 | 100BASE-LX10 RUGGED SFP FOR FAST ETHERNET SFP PORTS | CISCO | GLC-FE-100LX-RGD | 2
MOXA
85 | MOXA 16 PORT UNMANAGED ETHERNET SWITCH W/(14) 10/100BTX PORTS & (2) SINGLE-MODE SC FIBER PORTS (EXTENDED TEMPERATURE MODEL) | MOXA | EDS-316-SS-SC-T | 2
86 | MOXA MGATE 3270 2PORT RS232/422/485 MODBUS TCP TO SERIAL GATEWAY WITH 2KV OPTICAL ISOLATION EXTENDED TEMPERATURE RANGE -40F TO 167F | MOXA | MB3270I-T | 1
HONEYWELL PDB
87 | POWER DISTRIBUTION BOARD 8CH, 24VDC, 2A, CC | HONEYWELL | FC-PDB-0824P | 2
DC-DC CONVERTER
88 | CHASSIS MOUNT DC-DC CONVERTER, 7.5A | TRACO POWER | TEP 200-2415WIRCMF | 1
GM INTERNATIONAL
89 | SIL-3 RELAY LOW-V MODULE FOR 5A NE/ND LOADS WITH LFD | GMI | D5096S | 2
PANEL CONSUMABLES
WEIDMULLER
90 | SCHT 5 TAG CARRIER, 44.5 X 9.5 MM, BEIGE | WEIDMULLER | 1631930000 | 50
91 | WAP 2.5-10 W-SERIES END PLATE | WEIDMULLER | 1050000000 | 55
92 | WEW 35/2 W-SERIES END BRACKET | WEIDMULLER | 1061200000 | 63
93 | WSI 6/LD 10-36V DC/AC, FUSE TERMINAL, SCREW CONNECTION, 6 MM², DARK BEIGE | WEIDMULLER | 1011300000 | 217
94 | WDU 10, 10MM SQ, FEED THROUGH TERMINAL BEIGE, | WEIDMULLER | 1020300000 | 18
95 | WPE 10, PE TERMINAL, SCREW CONNECTION, 10 MM², GREEN / YELLOW | WEIDMULLER | 1010300000 | 2
96 | WDU 35, 35MM SQ, FEED THROUGH TERMINAL BEIGE, | WEIDMULLER | 1020500000 | 2
97 | WPE 35, 35MM SQ, GREEN / YELLOW | WEIDMULLER | 1010500000 | 1
98 | WPE 35, 35MM SQ, GREEN / YELLOW | WEIDMULLER | 1010500000 | 1
98 | WQV 10/10, W SERIES CROSS CONNECTOR 10 POLE | WEIDMULLER | 1052460000 | 2
99 | QB 58/8/9/WI, SAK SERIES, CROSS-CONNECTOR, NO. OF POLES: 58 | WEIDMULLER | 545300000 | 5
100 | ISPF QB58, INSULATION PROFILE, RED | WEIDMULLER | 546040000 | 5
101 | WTR 4, TEST DISCONNECT TERMINAL, 4MM SQ, BEIGE | WEIDMULLER | 7910180000 | 22
102 | ZQV 4N/10, GE, CROSS CONNECTOR 32A, 10 POLE | WEIDMULLER | 1758260000 | 3
103 | WTR 2.5, TEST DISCONNECT, 2.5MM SQ, | WEIDMULLER | 1855610000 | 180
104 | WPE 2.5, 2.5MM SQ, EARTH TERMINAL SCREW | WEIDMULLER | 1010000000 | 254
105 | WTR 2.5MM SQ BLUE, TEST DISCONNECT TERMINAL | WEIDMULLER | 8731640000 | 156
PHOENIX CONTACT
106 | HF Duct 40x100 GREY | PHOENIX CONTACT | 3240351 | 2
107 | HF Duct 60x100 GREY | PHOENIX CONTACT | 3240355 | 6
108 | HF Duct 80x100 GREY | PHOENIX CONTACT | 3240360 | 8
109 | HF Duct 100x100 GREY | PHOENIX CONTACT | 3240364 | 8
110 | HF Duct 100x100 BLUE | PHOENIX CONTACT | 3240606 | 2
111 | DIN Rail (pack of 100) | PHOENIX CONTACT | 1206421 | 10
112 | End Piece (pack of 100) | PHOENIX CONTACT | 1206560 | 35
113 | 220VAC Relays | PHOENIX CONTACT | 2909653 | 3
114 | RJ-45 DIN RAIL ADAPTOR - NBC-PP-J1PGY-S/R4IDC8 | PHOENIX CONTACT | 1100077 | 2
SCHNEIDER
115 | LINERGY FH, HORIZONTAL COMB BUSBAR FOR 18 MM PITCH | SCHNEIDER | A9XAH257 | 2
116 | iOF OPEN/CLOSE AUXILIARY CONTACT | SCHNEIDER | A9A26924 | 53
117 | iC60N, MINIATURE CIRCUIT BREAKER, 1A, 2-POLE, CURVE-C | SCHNEIDER | A9F44201 | 7
118 | iC60N, MINIATURE CIRCUIT BREAKER, 2A, 2-POLE, CURVE-C | SCHNEIDER | A9F44202 | 2
119 | iC60N, MINIATURE CIRCUIT BREAKER, 4A, 2-POLE, CURVE-C | SCHNEIDER | A9F44204 | 8
120 | iC60N, MINIATURE CIRCUIT BREAKER, 10A, 2-POLE, CURVE-C | SCHNEIDER | A9F44210 | 7
121 | iC60N, MINIATURE CIRCUIT BREAKER, 16A, 2-POLE, CURVE-C | SCHNEIDER | A9F44216 | 18
122 | iC60N, MINIATURE CIRCUIT BREAKER, 63A, 2-POLE, CURVE-C | SCHNEIDER | A9F44263 | 1
123 | ACTI 9 IDPN N VIGI - RCBO - 1 P+N - 6A - C CURVE - 30mA - TYPE AC | SCHNEIDER | A9D31606 | 2
124 | iC60N, MINIATURE CIRCUIT BREAKER, 6A, 2-POLE, CURVE-C | SCHNEIDER | A9F44206 | 8
BILL OF MATERIALS (WHCP Hydraulic/Pneumatic - TYPICAL) Reference Drawing: 090-2010-JJJ-GAD-20008
Sr # | Item Description | Manufacturer | Part No | Qty
1 | BALL VALVE, 3-WAY; 1/4"NPTF; COMPONENT RATING 55 Barg; PROOF PRESSURE RATING 55 Barg | APOLLO (ALJAC) | 76-601-01A | 3
2 | CHECK VALVE, NACE; 1/4 HP FEMALE; COMPONENT RATING 2069 Barg; PROOF PRESSURE RATING 2069 Barg | AUTOCLAVE | CB4401-SOG | 3
3 | BALL VALVE, NACE; 1/4" HP FEMALE; COMPONENT RATING 1380 Barg; PROOF PRESSURE RATING 1380 Barg | BUTECH | KW204-23-23-SOG | 5
4 | NEEDLE VALVE, 2-WAY NACE; 1/4" HP FEMALE; COMPONENT RATING 1379 Barg; PROOF PRESSURE RATING 1379 Barg | AUTOCLAVE | 30VM4001-SOG | 3
5 | VALVE MANIFOLD, 3-WAY,NACE; 1/4' HP FEMALE; COMPONENT RATING 1379 Barg; PROOF PRESSURE RATING 1379 Barg | AUTOCLAVE | 30VM4005-SOG | 5
6 | BALL VALVE, 3-WAY, NACE; 1/4"HP FEMALE; COMPONENT RATING 1379 Barg; PROOF PRESSURE RATING 1379 Barg | AUTOCLAVE | 3B3S09H4-SOG | 1
7 | SUCTION STRAINER, 600 MESH; 1/2" NPTF; COMPONENT RATING 100 Barg | BARTON FIRTOP | YSF/BFI/015/NPT/351 | 2
8 | SOLENOID VALVE, 3-WAY, N.C., PORTED SUB-BASE (M1046), EExd IIC T6 24VDC, NACE; 1/4" HP FEMALE; COMPONENT RATING 690 Barg | BIFOLD | FP01/S3/M/32/NC/SA/77A-24D/30- H2S(M1046) | 1
9 | SOLENOID VALVE, 3-WAY, N.C., BODY PORTED, EExd IIC T6 24VDC; 1/4" NPTF; COMPONENT RATING 35 Barg; PROOF PRESSURE RATING 35 Barg | BIFOLD | FP10P-S3-04-32-NU-V-77A9-24D-57- 03 | 3
10 | INLET RELIEF VALVE, (SET @ 660 BARG); 1/4" MP IN, 1/4" NPTF OUT; COMPONENT RATING 1035 Barg; PROOF PRESSURE RATING 1035 Barg | BIS | RL25-44AE-25N-15K | 3
11 | PRESSURE (LEVEL) TRANSMITTER, -1.01 - 2.06 barg, EeX ia, 4-20mA, ZONE 1IIC II 2 G T4; 1/4" NPTF; COMPONENT RATING 2.1 Barg | EMERSON (ROSEMOUNT) | 3051TG1A2B21BT1I1Q4Q8Q15RK | 1
12 | PRESSURE TRANSMITTER (SUITABLE FOR 1/4” HP TUBE), 0-1000 Mbarg, EeX ia, 4-20mA, ZONE 1 IIC II 2 G T6, NACE; 9/16" HP FEMALE; COMPONENT RATING 1000 Barg; PROOF PRESSURE RATING 1000 Barg | DELTA | 43871CGAB6V30T157 | 3
13 | PRESSURE TRANSMITTER, 0-60 BARG, EeX ia, 4-20mA, ZONE 1 IIC II 2 G T6; 1/4" NPTM (VIA ADAPTOR); COMPONENT RATING 60 Barg; PROOF PRESSURE RATING 60 Barg | DELTA | 43871SEEB6G30T157 | 3
14 | GAS DETECTOR, EEX ia, POLYTRON 7000 | DRAGER | 8317710 C/W 8317990, 8317270, 8317275, 8317617,6809610 | 1
15 | Piston Accumulator, Carbon Steel Construction, Capacity: 6 Litres, Gas Connection: 1/4" MP Female (Autoclave or Butech) + Burst Disc Fluid Connection: 1/4" MP Female, (Autoclave or Butech) | HYSTAT | PA-6-760-100-SW80050 | 1
16 | INLINE FILTER; 1/4" MP FEMALE; COMPONENT RATING 700 Barg; PROOF PRESSURE RATING 700 Barg | HYDAC | HPSSF700 ON 30AA 003 B.8/B6/N | 1
17 | PNEUMATIC REGULATOR, 0-17 BARG; 1/4" NPTF; COMPONENT RATING 275 Barg; PROOF PRESSURE RATING 275 Barg | Parker | IR4004SK3PX4B | 2
18 | LEVEL GAUGE, CtC 300mm; 1/2" UNF | LUBEDEVICE | G605-12-Y-1 | 1
19 | HAND PUMP; 3/8" NPTF; COMPONENT RATING 700 Barg; PROOF PRESSURE RATING 700 Barg | EUROPRESS | PP113 | 1
20 | Motor Pump Assy comprising of: PF511H-XVA-2-20 Fixed Displacement “Check Ball” Type Pump Delivering approx..0.30 l/min @ 690 bar / 10,000 psi @ 1500 rpm Inlet: ½” BSPF, Outlet: 3/8 MP 0.75kW, D80, 400V 3ph 50Hz, 1500rpm, IP55, Thermistors. Max. Ambient +50℃ Class F Insulation – Class B Rise CEMP ATEX IIB T4 Electric Motor B35 Foot & Flange Mounted Complete with Bell Housing & Coupling to suit. Pumps and Bellhousings supplied un-painted. Motors supplied painted to CEMP factory standard. | DYNEX | PF511H-XVA-2-20 | 1
21 | BALL VALVE; 1/2" NPTF; COMPONENT RATING 69 Barg; PROOF PRESSURE RATING 69 Barg | OLIVER | LPB1F50S/HL/NA | 10
22 | NEEDLE VALVE; 1/4" NPTF; COMPONENT RATING 414 Barg; PROOF PRESSURE RATING 414 Barg | OLIVER | F25S | 12
23 | 63mm dial glycerine filled Gauge Flush Mounting (screw fixing) Rear connection 1/4”HP male Stainless Steel case and movement with Monel tube and socket to NACE MR-01-75. Model # 633/63/MONEL/GF. Range 0-1000 Bar | STEWART BUCHANAN | 0633AH41KB-DM | 1
24 | 100mm dial glycerine filled Gauge Flush Mounting (screw fixing) Rear connection 1/4”HP male Stainless Steel case and movement with Monel tube and socket to NACE MR-01-75. Model 633/MONEL/GF. Range 0-1000 Bar | STEWART BUCHANAN | 2633AH41KB-DM | 1
25 | 63mm dial glycerine filled Gauge Flush Mounting (screw fixing) Rear connection 1/4”NPT male Stainless Steel case, movement and socket. Model # 633/63/GF. Range 0-25 Bar | STEWART BUCHANAN | 06330325B-D | 5
26 | HYDRULIC PRESSURE REGULATOR, 13-690 BARG, NACE; 1/4" HP FEMALE, 1/4" NPTF VENT; COMPONENT RATING 1035 Barg IN, 690 Barg OUT; PROOF PRESSURE RATING 1035 Barg IN, 690 Barg OUT | TESCOM | 54-2061D44-002 | 1
27 | RELIEF VALVE, 1/4" NPTF, COMPONENT RATING 13 Barg; PROOF PRESSURE RATING 13 Barg | Proserv | PF401F4Q-1V | 1
28 | FILLER/BREATHER 0.7bar; COMPONENT RATING 0.7 Barg | Parker | AB98817011 | 1
29 | PILOT VALVE, 3 WAY 2 POS; 3/8" NPTF, 1/8" NPTF PILOT; COMPONENT RATING 18 Barg; PROOF PRESSURE RATING 18 Barg | VERSA | VSP-8402-316-PPR | 3
30 | Description # 3B25: 1/4" St.St. 2/3 Interface valve. N: service ports 1/4" NPT H1: Pilot pressure range: 1,400 - 10,000 psi Pilot connection: 1/4" NPT female. IVNC: Interface valve configured for normally closed, wetted parts conform to NACE MR0175 10K: M.W.P. (Valve) 10,000 psi Liquid Viton seals: -10°C to +120°C | BIS | 3B25N-H1-IVNC-10K | 1
31 | 63mm dial glycerine filled Gauge Flush Mounting (screw fixing) Rear connection 1/4”NPT male Stainless Steel case, movement and socket. Full safety pattern, solid front, laminated safety window and blow-out back. Model 1123/GF. Range 0-400Bar | STEWART BUCHANAN | 0112303400B-D | 2
32 | 63mm dial glycerine filled Gauge Direct Mounting Bottom connection 1/4”NPT male Stainless Steel case, movement and socket. Model 632/GF. Range 0-25 Bar | STEWART BUCHANAN | 06320325B-D | 2
33 | VALVE MANIFOLD, 2-WAY; 1/2" NPTF IN/OUT; 1/4"NPTF Vent Connection COMPONENT RATING 414 Barg | OLIVER | G12FFS | 1
34 | PRESSURE SENSOR, 0-250 BAR ID. Eex ia, 4-20mA, ZONE 1 IIC II 2 G T6; 1/4 NPTM (THROUGH ADAPTER); ELEMENT RATED 250 barg .; TEST PRESSURE RATING 250 barg. | DELTA | 43871SFCB6G30T157 | 2
35 | INLINE FILTER, 40 MICRON FILTER UPSTREAM, 20 MICRON DOWNSTREAM, NACE; 1/4" HP FEMALE; COMPONENT RATING 4140 Barg; PROOF PRESSURE RATING 4140 Barg | 2026-03-26 | 60LF4-40/20-SOG | 1
36 | BALL VALVE; 1/2" NPTF; COMPONENT RATING 414 Barg; PROOF PRESSURE RATING 414 Barg | OLIVER | B6FX50S/HL/NA | 2
37 | CHECK VALVE; 1/4" NPTF; COMPONENT RATING 414 Barg; PROOF PRESSURE RATING 414 Barg | OLIVER | CV25S | 2
38 | Stainless Steel Swagelok Tube Fitting, Reducer, 10 mm x 12 mm Tube OD | Swagelok | SS-10M0-R-12M | 3
39 | VALVE MANIFOLD, 3-WAY, PROOF PRESSURE RATING 414 BARG, CONNECTION 1/4" NPTF | OLIVER | DBB/IN/S/25F/25F/25F/NA | 2
40 | HYDRAULIC PANEL, 316SS, IP65, SIZE: H-2100 X W-2100 X D-800mm & 200mm PANEL BASE. | CUSTOM | CUSTOM | 1
41 | MAIN RESERVOIR, 316SS, FILL CAPACITY: 25 LITER, SIZE: H-420 X W-320 X D-240mm. | CUSTOM | CUSTOM | 1
42 | 16A 230VAC SWITCH SOCKET | MENNEKES | RS 491-248 | 1
43 | PILOT LIGHT, RED LENS, PLASTIC BEZEL | ALLEN BRADLEY | 800FP-P4 | 14
44 | PILOT LIGHT, GREEN LENS, PLASTIC BEZEL | ALLEN BRADLEY | 800FP-P3 | 2
45 | PUSHBUTTON BLACK FLUSH MOMENTARY | ALLEN BRADLEY | 800FP-F2 | 3
46 | PUSHBUTTON RED FLUSH MOMENTARY | ALLEN BRADLEY | 800FP-F4 | 3
47 | ILLUMINATED PUSHBUTTON GREEN | ALLEN BRADLEY | 800FP-LF3 | 4
48 | ILLUMINATED PUSHBUTTON RED | ALLEN BRADLEY | 800FP-LF4 | 7
49 | EMERGENCY STOP PUSHBUTTON | ALLEN BRADLEY | 800FP-MK44 | 1
50 | 2 POSITION KEY SELECTOR SWITCH | ALLEN BRADLEY | 800FP-KM2 1 R | 1
51 | 2 POSITION SELECTOR SWITCH, SPRING RETURN | ALLEN BRADLEY | 800FP-SR22 | 1
52 | LED MODULE RED 24V AC/DC | ALLEN BRADLEY | 800F-N3R | 21
53 | LED MODULE GREEN 24V AC/DC | ALLEN BRADLEY | 800F-N3G | 6
54 | 22.5MM P/B PLASTIC LATCH | ALLEN BRADLEY | 800F-ALP | 36
55 | 1 N/O CONTACT BLOCK | ALLEN BRADLEY | 800F-X10 | 19
56 | 2 N/C CONTACT BLOCK | ALLEN BRADLEY | 800F-X02D | 1
57 | 1 N/C CONTACT BLOCK | ALLEN BRADLEY | 800F-X01 | 1
58 | LOOP POWERED INDICATOR | BEKA | BA507E | 11
59 | EX-BULKHEAD LIGHT FITTING | CESP | CES-EX-D-JX-30 | 2
60 | LIGHT SWITCH | CEAG | GHG2732000R0003 | 2
61 | FEED-THROUGH TERMINAL, SCREW CONNECTION, 2.5 MM², 800 V, 24 A, DARK BEIGE | WEIDMULLER | 1020000000 | 250
62 | W-SERIES, END PLATE | WEIDMULLER | 1050000000 | 4
63 | W-SERIES, END BRACKET | WEIDMULLER | 1061200000 | 4
64 | SCHT 5 TAG CARRIER | WEIDMULLER | 0292460000 | 3
65 | PLUG-IN BRIDGE - ZQV 2.5N/50 | WEIDMULLER | 1527730000 | 4
MOTOR JUNCTION BOX
66 | MOTOR JUNCTION BOX, MS Poweder Coated, SIZE: H-350 X W-260 X D-150mm. | CUSTOM | CUSTOM | 1
67 | FEED-THROUGH TERMINAL, SCREW CONNECTION, 2.5 MM², 800 V, 24 A, DARK BEIGE | WEIDMULLER | 1020000000 | 16
68 | W-SERIES, END PLATE | WEIDMULLER | 1050000000 | 3
69 | W-SERIES, END BRACKET | WEIDMULLER | 1061200000 | 8
70 | SCHT 5 TAG CARRIER | WEIDMULLER | 292460000 | 3
71 | MOTOR PROTECTION CIRCUIT BREAKER, 3P CHANNELS, 1.6 2.5 A, 100 KA | ALLEN BRADLEY | 140MT-C3E-B25 | 1
72 | CIRCUIT BREAKER 2A | ALLEN BRADLEY | 1492- SPM1C020-N | 1
73 | THERMISTOR MONITORING. RELAY | ALLEN BRADLEY | 817S-PTC-230 | 1
74 | MOTOR CONTACTOR | ALLEN BRADLEY | 100-C09KF10 | 1
75 | RELAY 230V AC COIL | ALLEN BRADLEY | 700-HK32A2 | 1
76 | RELAY 230V AC COIL | ALLEN BRADLEY | 700-HK32Z24 | 1
77 | SCREW TERMINAL SOCKET | ALLEN BRADLEY | 700-HN122 | 2
78 | BREAKER, MOTOR PROTECTION, HANDLE, DOOR COUPLING, BLACK | ALLEN BRADLEY | 140MT-C-DN66 | 1
79 | EXTENSION SHAFT FOR OPERATOR MECHANISM, STANDARD LENGTH | ALLEN BRADLEY | 140MT-C-DS | 1
INSTRUMENT JUNCTION BOX
80 | INSTRUMENT JUNCTION BOX, SIZE: H-350 X W-260 X D-150mm. | WEIDMULLER | 1194830000 | 1
81 | TEST-DISCONNECT TERMINAL, SCREW CONNECTION, 2.5 MM², 800 V, 24 A, PIVOTING, BLUE | WEIDMULLER | 8731660000 | 28
82 | W-SERIES, END PLATE | WEIDMULLER | 1050000000 | 1
83 | W-SERIES, END BRACKET | WEIDMULLER | 1061200000 | 2
84 | SCHT 5 TAG CARRIER | WEIDMULLER | 0292460000 | 1
LIGHT & SOCKET JUNCTION BOX
85 | LIGHT & SOCKET JUNCTION BOX, SIZE: H-250 X W-250 X D-150MM. | WEIDMULLER | 1194610000 | 1
86 | FEED-THROUGH TERMINAL, SCREW CONNECTION, 2.5 MM², 800 V, 24 A, DARK BEIGE | WEIDMULLER | 1020000000 | 8
87 | W-SERIES, END PLATE | WEIDMULLER | 1050000000 | 2
88 | W-SERIES, END BRACKET | WEIDMULLER | 1061200000 | 4
89 | SCHT 5 TAG CARRIER | WEIDMULLER | 292460000 | 2
90 | BULLETIN 1492-SPM SUPPLEMENTARY PROTECTORS, 2-POLE, TRIP CURVE C, 16 A | ALLEN BRADLEY | 1492-SPM2C160 | 1